SPECIFICATION

STRUCTURE

The building is an rcc framed structure with aerocon blocks/bricks and plastered walls with foundation that will be earthquake resistant.

FLOORING AND DADO

Living/ Dining/ Bedroom/

Passage/ Kitchen			 Italian full-body vitrified tiles / Imported marble (as per

Architect’s design)

Modular Kitchen in all the flats

Imported Marble for Dining Room, Living

Room and Pooja Room ONLY

Bathrooms (Floor and Wall) 		Imported Designer tiles (as per Architect’s Design)

Balconies 				Anti –Skid tiles (as per Architect’s Design)

Laundry and Utility 			Ceramic tiles up to 7’ height for the walls and anti- skid floor

SANITARY AND PLUMBING

Wash Basins	Branded wash basins shall be provided in all the bathrooms 
LAUFEN/ TOTO / KOHLER / ROCA / GESSI/ 
EQUVIVALENT

Faucets and Fittings 	All faucets shall be cp, heavy body metal fittings of branded make. Hot water connection shall be provided to the shower and washbasin in each bathroom and to the sink in the kitchen.

LAUFEN/ TOTO/ KOHLER / ROCA / GESSI / 
            EQUIVAVALENT

PAINTING

Interior walls will be finished with 2 coats of putty and 2 coats of luster paint.

ASIAN/ DULUX/ NEROLAC/ RENOVA/ EQUVIVALENT

Exterior – 2 coats of external emulsion paint.

ASIAN/ DULUX/ NEROLAC/ RENOVA/ EQUVIVALENT

ELECTRICAL

Wiring 				All internal circuits in PVC tubes with ISI mark

Distribution Board 			ISI Quality mark

ELCB / MCB 			           MDS automatic change over current limiter (ACCL)

Switches 				All switches shall be of a branded make.

ANCHOR / LEGRAND / PANASONIC/ 
                                                            EQUVIVALENT

All flats will have 3 – phase connection with independent

Meters

100% Power backup

DOORS AND WINDOWS

Main Door 	Flush door with teak veneers on both sides and necessary accessories

Bedroom Doors	Flush door with teak veneers on both sides and necessary accessories

Bathroom Doors 	Water – proof ply door inside and teak veneers on the outside and necessary accessories

Windows, French windows & Fixed Glass Frames        Aluminum powder coated/ UPVC /     
                           wooden foil finished frames and shutters.

ELECTRICAL POINTS

| Location | Fan points | Light points | 5 Amps point | 15 Amps point | Spilt A/C point | Other Points |
| --- | --- | --- | --- | --- | --- | --- |
| Foyer | - | 1 | - | - | - | - |
| Living | 1 ( 2 way) | 3(1 no. 2 way) | 3 | 1 | 1 (A/c Point) | 1 TV Point + cable, 1 Telephone point + 1 internet Point |
| Dining | 1 | 2 | 2 | 1 | 1 (A/c Point) |  |
| Family | 1 | 1 | 1 | - | 1 (A/c Point) | 1 TV Point + cable, 1 Telephone point + 1 internet Point |
| Kitchen | 1 | 3 | 3 | 3 |  | Aqua guard point provision, Fridge point & Exhaust fan point |
| Utility | - | 1 | - | 1 |  | Washing machine point |
| All Bed rooms | 1 ( 1 way) | 3 (1 nos. 2 way) | 5 | - | 1 (A/c Point) | 1 TV Point + Cable, 1 Telephone point, 1 Night Lamp Point, 1 Internet Point |
| Bath rooms |  | 2 | 1 | - | - | Exhaust Fan Point Provision & 1 heater provision |
| Pooja | - | 1 | 1 | - | - |  |
| Deck | - | 1 | 1 | - | - | - |
| Main Door | - | 1 ( 2way) | - | - | - | Bell Point |