                                   
[image: image1.jpg]


                                
Specification – Apartment 
1) Flooring for the entire flat

Vitrified tiles for all the rooms (as per architects design)
apart from toilet
2) Kitchen 



i. Granite Slab
ii. S.S. sink + Drain board                        
iii. Glazed tiles above kitchen slab up to 2 feet height.
3) Deck Flooring


Anti skid floor tiles as per architects design

 
4) Utility



Ceramic tiles up to 5 feet height as per Architectural Design.
5) Bathroom flooring


anti-skid tiles as per Architectural Design. 

6) Bathroom Wall Tiles

            Tiles upto 7’0” height as per Architectural Design.                       

7) Fittings



Branded CP and Ceramic fittings as per Architectural Design.
8) Structures 


             R.C.C. framed structure with plastered walls.

9) Door Frames





a) Main Door


Teak framed flush door with varnish finish
Lock, Door Eye hole, handle.
b) Bed room doors


Flush Door (painted on both sides)

c) Bathroom doors


Water proof flush door.
10) Windows, Ventilators,

UPVC windows
& French Doors
11) Electrical 



All internal circuit in PVC tubes make with ISI mark

All Flats will have 3 phase connection with independent meters.

	ELECTRICAL POINTS

	Location
	Fan  points
	light points
	5 Amps point
	15 Amps point
	20 Amps point
	Other Points

	Foyer
	-
	2
	1
	-
	
	

	Living
	2
	3
	2
	
	1 (A/c Point)
	2 TV Points + cable,  1 Telephone point + 1 internet Point, Night Lamp point

	Dining
	1
	3
	1
	
	
	Fridge Point

	Living Deck
	-
	1
	-
	
	
	

	Kitchen
	1
	1
	2
	2
	
	Chimney Point, Aqua guard point provision

	Utility
	-
	1
	-
	-
	
	Washing machine point

	Master Bedroom
	1

(2-way)
	2

(1 no. - 2 way)
	3
	-
	1 (A/c Point)
	1 Deck light, 2 TV Points + cable

	Other Bed rooms (2nos.)
	1

( 2 way)
	2

(1 nos. 2 way)
	2
	-
	1 (A/c Point)
	

	Bathrooms (2nos.)
	
	2


	1
	-
	-
	Exhaust Fan Point Provision & 1 heater provision

	Passage
	-
	1
	-
	-
	
	Night Lamp

	Main Door
	
	
	
	
	
	Bell Point


12) Painting



Interior walls will have cement putty with 2 coats of paints
Exterior – 1 coat of Primer and 2 coats of exterior paint.

13) Generator

            

100% Back up for Common areas and Lifts.

14) Amenities                                         Landscaping on all Sides of the building / Party Room
                                                       Gym / Kids Play Area / Multipurpose hall I & II / One  

                                                       Covered car park per house.
